## Sheet1
FT50-61, 12 turns 0.9mm wire. Neut. C across load. Gen side shield earth. Lsec = 9.25uH @ 1.5915MHz. 40pF variable ref cap with padding. L-bal coil.					D. W. Knight. June 2007.			Version	1.01
		esd +/-					Show columns N-Q to see deatails of fitting procedure.					See sheet 2 for C1'm vs frequency
N =	12.00					Li' = N R0 C2 Rv
R0 =	49.89	0.06					from fit	from fit
C2+Cx/pF	10.30	0.20	< Adjusted to reproduce Li as measured elsewhere.					Ci =	Li =
L2 / nH	900.00	20.00					Li computed from Rv
L2 fit	1	< 1 to include L2 in fit, 0 to exclude it.
1/(N R0 C2)	1.62E+08					0.350	8.933
			Log (f)	f	x	Rv	esd Rv	Li'	Corr(L2)	y	esd y	fit	weight	w x	w x^2	w y	w x y	y calc	obs-calc	w e	w e^2	Li' calc	Li'					Computed	Computed
				/MHz	-(2 pi f)^2	Ohms	Ohms	/ uH					w					e			/ uH	obs-calc					Li /uH	Ci /pF
			6.20	1.59	-100.000	1446.9	0.87	8.9222	-103.9	111976.46	67.2	1	2.21E-04	-0.022112548	2.211256	24.760831	-2476.084851313	111909.78	66.68	0.014745	0.98	8.9275	-0.0053					8.919	-1.356
			6.23	1.70	-114.093	1447.3	0.87	8.9246	-118.5	111930.87	67.2	1	2.21E-04	-0.025242720	2.880008	24.764437	-2825.439717570	111904.85	26.03	0.005758	0.15	8.9267	-0.0021					8.921	-0.917
			6.26	1.80	-127.910	1448.1	0.87	8.9296	-132.8	111854.69	67.2	1	2.21E-04	-0.028331091	3.623832	24.774949	-3168.965524079	111900.01	-45.32	-0.010037	0.45	8.9260	0.0036					8.926	-0.334
			6.28	1.90	-142.517	1447.7	0.87	8.9271	-148.0	111870.43	67.2	1	2.21E-04	-0.031548995	4.496271	24.764748	-3529.399718039	111894.90	-24.46	-0.005416	0.13	8.9252	0.0019					8.923	-0.517
Calibration freq. >>>			6.30	2.00	-157.914	1447.3	0.87	8.9246	-164.0	111885.36	67.2	1	2.21E-04	-0.034938021	5.517191	24.754367	-3909.052940099	111889.51	-4.15	-0.000918	0.00	8.9243	0.0003					8.920	-0.662
			6.34	2.20	-191.076	1447.3	0.87	8.9246	-198.5	111850.91	67.2	1	2.21E-04	-0.042275005	8.077720	24.746746	-4728.497888151	111877.90	-26.98	-0.005970	0.16	8.9225	0.0021					8.919	-0.547
			6.38	2.40	-227.396	1446.7	0.87	8.9209	-236.3	111859.56	67.3	1	2.21E-04	-0.050269045	11.430964	24.728144	-5623.073169537	111865.18	-5.62	-0.001243	0.01	8.9205	0.0004					8.915	-0.664
			6.41	2.60	-266.874	1446.3	0.87	8.9185	-277.4	111849.46	67.3	1	2.21E-04	-0.058963690	15.735882	24.712240	-6595.056955506	111851.36	-1.90	-0.000419	0.00	8.9183	0.0002					8.911	-0.682
			6.45	2.80	-309.511	1446.9	0.87	8.9222	-321.6	111758.78	67.2	1	2.21E-04	-0.068440675	21.183128	24.712697	-7648.846341255	111836.43	-77.65	-0.017171	1.33	8.9160	0.0062					8.914	-0.438
			6.48	3.00	-355.306	1445.6	0.87	8.9142	-369.5	111811.66	67.3	1	2.21E-04	-0.078425984	27.865204	24.679981	-8768.939420615	111820.40	-8.74	-0.001929	0.02	8.9135	0.0007					8.904	-0.665
			6.54	3.50	-483.611	1443.4	0.87	8.9006	-503.7	111848.45	67.4	1	2.20E-04	-0.106421819	51.466721	24.613015	-11903.115569668	111775.48	72.97	0.016057	1.17	8.9064	-0.0058					8.887	-0.842
			6.60	4.00	-631.655	1442.2	0.87	8.8932	-658.4	111787.20	67.5	1	2.20E-04	-0.138768902	87.654026	24.558651	-15512.586828292	111723.66	63.54	0.013960	0.89	8.8982	-0.0050					8.876	-0.793
			6.65	4.50	-799.438	1441.0	0.86	8.8858	-834.0	111705.25	67.5	1	2.19E-04	-0.175337243	140.171248	24.499826	-19586.091043178	111664.92	40.33	0.008846	0.36	8.8890	-0.0032					8.864	-0.744
			6.70	5.00	-986.960	1440.8	0.86	8.8846	-1029.8	111525.10	67.5	1	2.19E-04	-0.216405649	213.583815	24.453525	-24134.661783295	111599.27	-74.17	-0.016263	1.21	8.8787	0.0059					8.857	-0.618
			6.78	6.00	-1421.223	1439.0	0.86	8.8735	-1484.7	111210.93	67.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	111447.24	-236.31	0.000000	0.00	8.8549	0.0186					8.834	-0.528
			6.85	7.00	-1934.442	1445.6	0.87	8.9142	-2011.7	110169.49	67.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	111267.57	-1098.09	0.000000	0.00	8.8277	0.0864					8.861	-0.122
			6.90	8.00	-2526.619	1453.1	0.87	8.9604	-2613.9	108988.22	67.0	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	111060.26	-2072.04	0.000000	0.00	8.7971	0.1633					8.890	0.136
			6.95	9.00	-3197.752	1463.5	0.88	9.0245	-3284.7	107524.34	66.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110825.31	-3300.97	0.000000	0.00	8.7635	0.2611					8.934	0.355	Ci computed from Rv
			7.00	10.00	-3947.842	1468.5	0.88	9.0554	-4041.4	106390.36	66.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110562.71	-4172.35	0.000000	0.00	8.7257	0.3297					8.943	0.383
			7.08	12.00	-5684.892	1482.1	0.89	9.1392	-5766.2	103652.20	65.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109954.60	-6302.40	0.000000	0.00	8.6415	0.4977					8.976	0.444
			7.15	14.00	-7737.770	1492.7	0.90	9.2046	-7792.8	100848.68	65.2	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109235.92	-8387.24	0.000000	0.00	8.5449	0.6597					8.981	0.427
			7.20	16.00	-10106.475	1500.5	0.90	9.2527	-10125.4	97951.30	64.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	108406.68	-10455.37	0.000000	0.00	8.4365	0.8162					8.959	0.383
			7.26	18.00	-12791.007	1481.7	0.89	9.1368	-12977.5	96470.44	65.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	107466.87	-10996.42	0.000000	0.00	8.3026	0.8342					8.778	0.195
			7.30	20.00	-15791.367	1482.2	0.89	9.1398	-16016.2	93394.81	65.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	106416.49	-13021.68	0.000000	0.00	8.1678	0.9721					8.700	0.160
			7.34	22.00	-19107.554	1459.4	0.88	8.9992	-19682.4	91437.95	66.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	105255.55	-13817.60	0.000000	0.00	8.0040	0.9953					8.488	0.043
			7.38	24.00	-22739.569	1442.0	0.87	8.8920	-23706.4	88754.86	67.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103984.04	-15229.18	0.000000	0.00	7.8314	1.0605					8.304	-0.023
Calibration freq. >>>			7.41	26.00	-26687.410	1439.2	0.86	8.8747	-27876.2	84803.84	67.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	102601.96	-17798.12	0.000000	0.00	7.6641	1.2106					8.195	-0.028
			7.45	28.00	-30951.079	1435.2	0.86	8.8500	-32419.9	80574.20	67.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	101109.32	-20535.12	0.000000	0.00	7.4890	1.3610					8.076	-0.034
			7.48	30.00	-35530.576	1440.5	0.86	8.8827	-37079.7	75498.57	67.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	99506.11	-24007.54	0.000000	0.00	7.3214	1.5613					7.999	-0.018
Derived parameters		esd +/-	sums >>>>>>>>>>>>					14	3.09E-03	-1.077481387	595.897265	345.524157	-120409.811750595			-1.06E-13	6.86
D	6.80E-01
a	111944.79	22.39
Li / uH	8.932975	0.0018		y obs - y calc
b = Ci / pF	0.350084	0.0510
chi^2/(n-2)	0.572
esd of fit	0.76
Rv0	1448.65
				Incremental error analysis
X-over /MHz	90					R0	49.83	49.89	49.95	err contrib.
				Li	8.994662	8.932975	9.016323	0.010831
				Ci	6.173432	0.350084	6.158601	-0.007416

				C2	10.1	10.3	10.5
				Li	8.828914	8.932975	9.182070	0.176578
				Ci	6.289328	0.350084	6.047431	-0.120949

				Accuracy
				esd Li	0.176919
				esd Ci	0.131461

				Li' vs Log(f)

## Sheet2
Variation of C1'm (nominal capacitance, measured @ 1.5915MHz) with frequency					To see details of fitting calculation show columns N-P
			Log(f)	f	Dial	Ci'm	esd C1'm	y	esd y	fit	weight	x	wx	wy	wxy	wx^2	y calc	e	we	we^2		<Ci'm>	obs-calc
				/MHz		/pF		1/C1'm			w					obs-calc
			6.20	1.59	8.045	107.37	0.63	0.009314	0.000054	1	3.40E+08	0.0	24328	3168475	226.59	1.74E+00	0.009313	0.000001	234.1	0.000		107.37	-0.008
			6.23	1.70	8.045	107.37	0.13	0.009314	0.000011	1	8.50E+09	14.1	119853959380	79211879	1116303460	1.69E+12	0.009313	0.000001	5847.3	0.004		107.37	-0.008
			6.26	1.80	8.045	107.37	0.10	0.009314	0.000009	1	1.33E+10	27.9	370886846262	123768562	3454389593	1.04E+13	0.009313	0.000001	9127.0	0.006		107.37	-0.008
			6.28	1.90	8.045	107.37	0.10	0.009314	0.000009	1	1.33E+10	42.5	564994168692	123768562	5262278768	2.40E+13	0.009313	0.000001	9117.0	0.006		107.37	-0.008
			6.30	2.00	8.050	107.38	0.08	0.009313	0.000007	1	2.08E+10	57.9	1203059705227	193457056	11203808183	6.97E+13	0.009313	0.000000	-8662.6	0.004		107.37	0.005
			6.34	2.20	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	91.1	1890151493582	193319715	17606697675	1.72E+14	0.009313	0.000002	37068.9	0.066		107.37	-0.021
			6.38	2.40	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	127.4	2643927687397	193319715	24628097602	3.37E+14	0.009313	0.000002	37030.3	0.066		107.37	-0.021
			6.41	2.60	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	166.9	3463249637196	193319715	32260054045	5.78E+14	0.009313	0.000002	36988.2	0.066		107.37	-0.021
			6.45	2.80	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	209.5	4348117342979	193319715	40502567002	9.11E+14	0.009313	0.000002	36942.8	0.066		107.37	-0.021
			6.48	3.00	8.045	107.37	0.08	0.009314	0.000007	1	2.08E+10	255.3	5301040161800	193388377	49373166370	1.35E+15	0.009313	0.000001	14018.6	0.009		107.37	-0.008
			6.54	3.50	8.035	107.34	0.08	0.009316	0.000007	1	2.07E+10	383.6	7957558036600	193251069	74133161540	3.05E+15	0.009313	0.000003	59616.6	0.171		107.37	-0.033
			6.60	4.00	8.035	107.34	0.08	0.009316	0.000007	1	2.07E+10	531.7	11028560764959	193251069	102742835551	5.86E+15	0.009313	0.000003	59459.0	0.170		107.37	-0.033
			6.65	4.50	8.025	107.32	0.08	0.009318	0.000007	1	2.07E+10	699.4	14495293411979	193113826	135071139487	1.01E+16	0.009313	0.000005	104950.5	0.531		107.37	-0.058
			6.70	5.00	8.015	107.29	0.08	0.009320	0.000007	1	2.07E+10	887.0	18364139498589	192976647	171162651806	1.63E+16	0.009313	0.000007	150356.3	1.092		107.37	-0.084
			6.78	6.00	7.990	107.23	0.08	0.009326	0.000007	1	2.07E+10	1321.2	27290616098393	192633985	254512458291	3.61E+16	0.009313	0.000013	263625.6	3.365		107.37	-0.147
			6.85	7.00	7.960	107.15	0.08	0.009333	0.000007	1	2.06E+10	1834.4	37783791659318	192223327	352622632688	6.93E+16	0.009313	0.000019	399025.6	7.730		107.37	-0.223
			6.90	8.00	8.010	107.28	0.08	0.009322	0.000007	1	2.07E+10	2426.6	50218310869904	192908082	468114364793	1.22E+17	0.009313	0.000008	171499.7	1.421		107.37	-0.095
			6.95	9.00	8.015	107.29	0.08	0.009320	0.000007	1	2.07E+10	3097.8	64137636912897	192976647	597793760792	1.99E+17	0.009313	0.000007	148007.6	1.058		107.37	-0.082
			7.00	10.00	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	3847.8	79856828236438	193319715	743863672738	3.07E+17	0.009313	0.000002	33068.2	0.053		107.37	-0.018
			7.08	12.00	8.070	107.43	0.08	0.009308	0.000007	1	2.08E+10	5584.9	116236644304595	193731933	1081971949370	6.49E+17	0.009313	-0.000005	-106294.1	0.543		107.37	0.059
			7.15	14.00	8.115	107.54	0.08	0.009298	0.000007	1	2.09E+10	7637.8	159640592944031	194351358	1484410943898	1.22E+18	0.009314	-0.000015	-315864.0	4.773		107.37	0.175
			7.20	16.00	8.150	107.63	0.08	0.009291	0.000007	1	2.10E+10	10006.5	209842876831871	194834045	1949601982655	2.10E+18	0.009314	-0.000023	-480621.2	11.015		107.37	0.265
			7.26	18.00	8.150	107.63	0.08	0.009291	0.000007	1	2.10E+10	12691.0	266139425457300	194834045	2472640288619	3.38E+18	0.009314	-0.000023	-483509.9	11.148		107.37	0.266
			7.30	20.00	8.155	107.65	0.08	0.009290	0.000007	1	2.10E+10	15691.4	329214533278970	194903065	3058295537936	5.17E+18	0.009314	-0.000024	-509980.7	12.396		107.37	0.281
			7.34	22.00	8.135	107.60	0.08	0.009294	0.000007	1	2.09E+10	19007.6	398037436709333	194627082	3699384784946	7.57E+18	0.009314	-0.000020	-420673.6	8.451		107.36	0.232
			7.38	24.00	8.085	107.47	0.08	0.009305	0.000007	1	2.08E+10	22639.6	471859607318304	193938262	4390678567233	1.07E+19	0.009314	-0.000009	-193509.6	1.797		107.36	0.107
			7.41	26.00	8.040	107.35	0.08	0.009315	0.000007	1	2.08E+10	26587.4	551786271320561	193319715	5139870583582	1.47E+19	0.009315	0.000000	8852.2	0.004		107.36	-0.005
			7.45	28.00	7.975	107.19	0.08	0.009329	0.000007	1	2.06E+10	30851.1	636340839964129	192428583	5936629489359	1.96E+19	0.009315	0.000015	300415.5	4.375		107.36	-0.168
			7.48	30.00	7.900	107.00	0.08	0.009346	0.000007	1	2.05E+10	35430.6	725613731490955	191403761	6781545481266	2.57E+19	0.009315	0.000031	633864.5	19.618		107.35	-0.356
			sums >>>>>>>					29	5.55E+11		4195749976135970	5165067987	39080453649475	9.15E+19			-5.58E-07	90.007
Derived parameters		esd					Chi^2(/n-2) >>>>>		3.334
Denom	3.32E+31					esd of fit >>>>>>		1.826
a	0.009313	0.000003					Ci'measured vs Log(f) (with expectation value)
C1' /pF	107.375	0.035
b	5.13E-11	2.36E-10
L1 /nH	0.051	0.236

KT	11.63	< Transformer const. = ( N R0 / k Ri) + (1/N) -1
L2 / nH	900.00	20.00
L1(true)	77.46	1.74	< corrected for L2

				C1'm obs-calc vs Log(f)

## Sheet3
Stray capacitance of voltage sampling network				Predicted C1 = C1' + C1s = C2 [( (1+Cx/C2) N R0 / k Ri ) + (1/N) -1]
		esd	Deriv dC1/dpar	(der*esd)^2
N =	12
R0 =	49.89	0.06	2.59	0.02
C2+Cx /pF =	10.3	0.2	11.63	5.41
Cx /pF	0	0
C2 /pF	10.3
1+Cx/C2	1
Ri =	49.77	0.06	-2.6	0.02
k =	0.959	0.0112	-134.72	2.28
				7.73	<<< sum
KT	11.627	< Transformer const. = [ (1+Cx/C2) N R0 / k Ri ] + (1/N) -1

C1' =	107.375	1.074
C1 pred =	119.753	2.781
C1s =	12.379	2.981

C1 prediction for bridge evaluation (see sheet 5)
R0 =	50
C1 pred =	120.038

Self capacitance of transformer secondary				Ci' = Ci apparent + ( Csh * Ro / Ri ) + [ L2 / ( N Ro Rv ) ] + ( LH / Ri^2 ) - Cis - [ L0 / ( R0 Ri ) ] + (C0 Ro / Ri) - [(N-1)Cx R0/Ri] -Cx C2/(N(Cx+C2)
parameter		esd +/-
Csh / pF	0.00	0.00	< shield protrusion capacitance. Set to 0 for gen. side earth.
L2 / nH	900.00	20.00	< inductance of upper voltage sampling arm
L2 fit	1		< =1 when L2 is included in fit on sheet 1, 0 otherwise.
RV0	1448.65		< optimal Rv
LH / nH	15.00	2.00	< inductance of sec. load resistor
Cis / pF	0.40	0.10	< strays accross sec winding
L0 / nH	13.00	3.00	< inductance of pri. transmission line
C0 / pF	3.50	0.50	< capacitance of pri. transmission line
Cneut /pF	6.60	0.50	< neutralising capacitor. Measured after experiment.

Series for Ci'		esd +/-	Variance
Ci apparent	0.35	0.05	0.003	< from fit on sheet 1
Corr for Csh	0.00	0.00	0.000
Corr for Cx	0.00	0.00	0.000
Corr for L2	0.00	0.02	0.001	< inclusion depends on whether L2 is included in fit on sheet 1.
Corr for LH	6.06	0.81	0.652
Corr for Cis	-0.40	0.10	0.010
Corr for L0	-5.24	1.21	1.460
Corr for C0	10.12	0.71	0.502
Ci' / pF	10.89	1.62	2.63	Only valid if parameters have been filled in correctly!

lw / mm	228.00	< length of secondary winding wire
Ci' pred / pF	7.64	< predicted Ci' if phase velocity = c

## Sheet4
Data reduction for 8-48 reference capacitor with 82pF in parallel. Data for dial readings 0 and 18 are excluded from fit (end effects).
		Dial	C /pF	esd C	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2
		x	y					C calc	e
		0	89.0	0.20	0	0.000	0.00	0.00	0.00	0.00	86.92	2.08	0.00	0.000
		1	90.0	0.20	1	25.000	2250.00	25.00	25.00	2250.00	89.46	0.54	13.48	7.269
		2	92.0	0.20	1	25.000	2300.00	50.00	100.00	4600.00	92.00	0.00	-0.06	0.000
		3	94.5	0.20	1	25.000	2362.50	75.00	225.00	7087.50	94.54	-0.04	-1.10	0.049
		4	97.0	0.20	1	25.000	2425.00	100.00	400.00	9700.00	97.09	-0.09	-2.14	0.184
		5	99.5	0.20	1	25.000	2487.50	125.00	625.00	12437.50	99.63	-0.13	-3.19	0.406
		6	102.0	0.20	1	25.000	2550.00	150.00	900.00	15300.00	102.17	-0.17	-4.23	0.715
		7	104.5	0.20	1	25.000	2612.50	175.00	1225.00	18287.50	104.71	-0.21	-5.27	1.111
		8	107.0	0.20	1	25.000	2675.00	200.00	1600.00	21400.00	107.25	-0.25	-6.31	1.593
		9	110.0	0.20	1	25.000	2750.00	225.00	2025.00	24750.00	109.79	0.21	5.15	1.060
		10	112.0	0.20	1	25.000	2800.00	250.00	2500.00	28000.00	112.34	-0.34	-8.39	2.819
		11	115.0	0.20	1	25.000	2875.00	275.00	3025.00	31625.00	114.88	0.12	3.06	0.375
		12	117.5	0.20	1	25.000	2937.50	300.00	3600.00	35250.00	117.42	0.08	2.02	0.164
		13	120.0	0.20	1	25.000	3000.00	325.00	4225.00	39000.00	119.96	0.04	0.98	0.038
		14	122.5	0.20	1	25.000	3062.50	350.00	4900.00	42875.00	122.50	0.00	-0.06	0.000
		15	125.0	0.20	1	25.000	3125.00	375.00	5625.00	46875.00	125.04	-0.04	-1.10	0.049
		16	128.0	0.20	1	25.000	3200.00	400.00	6400.00	51200.00	127.59	0.41	10.36	4.289
		17	130.0	0.20	1	25.000	3250.00	425.00	7225.00	55250.00	130.13	-0.13	-3.19	0.406
		18	131.0	0.20	0	0.000	0.00	0.00	0.00	0.00	132.67	-1.67	0.00	0.000
		sums >>>>>>>>>			17	425.000	46662.50	3825.00	44625.00	445887.50			-1.49E-11	20.527
D	4335000
a	86.919118		Capacitance vs dial reading
esd a	0.014087
b	2.541667
esd b	0.000134
Chi^2/n-2)	1.368464
esd fit	1.169814

## Sheet5
Bridge performance evaluation				FT50-61, 12 turns 0.9mm wire. Neut. C across load. Gen side shield earth. Lsec = 9.25uH @ 1.5915MHz. 40pF variable ref cap with padding. L-bal coil.
N	12
R0	50
C2 /pF	10.3
Li /uH	8.933
Rv0	1445.47	<<< Guide value (estimated value for zero phase error at 0Hz)
Rvset	1448.00	<<< Selected value
C1s /pF	12.379
L1 /nH	0.051
C1 pred	120.038								| << - - show hidden columns for details of fit - - >> |
Cv set 0	130.338	<<< Guide value (est. value for zero magnitude error at 0Hz)
C1 set	119.700
Cv set	130.000	<<< Selected value
			x						y				| - - - Determining the gradient of Phi vs f: y=phi, x=f
			f	Rv	C1'm	C1'0	Cv	Xcv	Xcvset	U	Rbal	Xbal	|Zbal|	(|Zbal|/R0)-1	Phi				esd phi	fit	weight					Phi calc	obs-calc
		Log(f)	/MHz	/Ohms	/pF	/pF	/pF				Ohms	Ohms	Ohms	Magn. err.	/deg.					w	wx	wy	wxy	wx^2	Y calc	e	we	we^2
		6.20	1.6	1446.9	107.37	107.37	130.05	-769.0	-769.2	3.72E-07	49.978	0.009	49.978	-0.0004	0.010				0.0500	1	400.00	636.6	3.9	6.2	1013.2	0.011	-0.001	-0.307	0.000236
		6.23	1.7	1447.3	107.37	107.37	130.05	-719.9	-720.2	3.82E-07	49.981	0.003	49.981	-0.0004	0.003				0.0500	1	400.00	680.0	1.2	2.1	1156.0	0.010	-0.007	-2.852	0.020337
		6.26	1.8	1448.1	107.37	107.37	130.05	-679.9	-680.1	3.91E-07	49.986	-0.008	49.986	-0.0003	-0.009				0.0500	1	400.00	720.0	-3.7	-6.6	1296.0	0.010	-0.019	-7.650	0.146294
		6.28	1.9	1447.7	107.37	107.37	130.05	-644.1	-644.4	3.98E-07	49.984	-0.003	49.984	-0.0003	-0.003				0.0500	1	400.00	760.0	-1.2	-2.3	1444.0	0.010	-0.013	-5.052	0.063802
Calibration freq. >>>		6.30	2.0	1447.3	107.38	107.38	130.06	-611.9	-612.1	4.05E-07	49.977	0.001	49.977	-0.0005	0.001				0.0500	1	400.00	800.0	0.3	0.6	1600.0	0.009	-0.009	-3.424	0.029304
		6.34	2.2	1447.3	107.35	107.35	130.03	-556.3	-556.5	4.16E-07	49.986	0.004	49.986	-0.0003	0.004				0.0500	1	400.00	880.0	1.8	3.9	1936.0	0.009	-0.004	-1.707	0.007283
		6.38	2.4	1446.7	107.35	107.35	130.03	-510.0	-510.1	4.24E-07	49.984	0.010	49.984	-0.0003	0.012				0.0500	1	400.00	960.0	4.6	11.2	2304.0	0.008	0.003	1.395	0.004865
		6.41	2.6	1446.3	107.35	107.35	130.03	-470.8	-470.9	4.32E-07	49.983	0.014	49.983	-0.0003	0.016				0.0500	1	400.00	1040.0	6.2	16.2	2704.0	0.008	0.008	3.211	0.025772
		6.45	2.8	1446.9	107.35	107.35	130.03	-437.1	-437.2	4.37E-07	49.985	0.007	49.985	-0.0003	0.008				0.0500	1	400.00	1120.0	3.2	9.0	3136.0	0.007	0.001	0.448	0.000502
		6.48	3.0	1445.6	107.37	107.37	130.05	-407.9	-408.1	4.42E-07	49.978	0.017	49.978	-0.0004	0.020				0.0500	1	400.00	1200.0	7.8	23.5	3600.0	0.006	0.013	5.300	0.070232
		6.54	3.5	1443.4	107.34	107.34	130.02	-349.7	-349.8	4.52E-07	49.984	0.035	49.984	-0.0003	0.040				0.0500	1	400.00	1400.0	15.9	55.5	4900.0	0.005	0.035	13.913	0.483942
		6.60	4.0	1442.2	107.34	107.34	130.02	-306.0	-306.1	4.58E-07	49.984	0.039	49.984	-0.0003	0.045				0.0500	1	400.00	1600.0	17.9	71.7	6400.0	0.003	0.041	16.574	0.686735
		6.65	4.5	1441.0	107.32	107.32	129.99	-272.1	-272.1	4.63E-07	49.994	0.044	49.994	-0.0001	0.051				0.0500	1	400.00	1800.0	20.4	91.7	8100.0	0.002	0.049	19.612	0.961538
		6.70	5.0	1440.8	107.29	107.29	129.97	-244.9	-244.9	4.66E-07	50.005	0.043	50.005	0.0001	0.049				0.0500	1	400.00	2000.0	19.7	98.6	10000.0	0.000	0.049	19.552	0.955729
		6.78	6.0	1439.0	107.23	107.23	129.91	-204.2	-204.0	4.71E-07	50.030	0.048	50.030	0.0006	0.055				0.0500	1	400.00	2400.0	22.1	132.7	14400.0	-0.003	0.058	23.131	1.337577
		6.85	7.0	1445.6	107.15	107.15	129.83	-175.1	-174.9	4.71E-07	50.064	0.018	50.064	0.0013	0.020				0.0500	1	400.00	2800.0	8.1	56.9	19600.0	-0.005	0.026	10.319	0.266217
		6.90	8.0	1453.1	107.28	107.28	129.96	-153.1	-153.0	4.70E-07	50.019	-0.017	50.019	0.0004	-0.019				0.0500	1	400.00	3200.0	-7.6	-60.9	25600.0	-0.008	-0.011	-4.225	0.044618
		6.95	9.0	1463.5	107.29	107.29	129.97	-136.1	-136.0	4.68E-07	50.016	-0.048	50.016	0.0003	-0.055				0.0500	1	400.00	3600.0	-22.1	-198.9	32400.0	-0.011	-0.044	-17.536	0.768805
		7.00	10.0	1468.5	107.35	107.35	130.03	-122.4	-122.4	4.67E-07	49.992	-0.060	49.992	-0.0002	-0.068				0.0500	1	400.00	4000.0	-27.3	-273.4	40000.0	-0.014	-0.054	-21.585	1.164804
		7.08	12.0	1482.1	107.43	107.43	130.11	-101.9	-102.0	4.63E-07	49.964	-0.083	49.964	-0.0007	-0.096				0.0500	1	400.00	4800.0	-38.3	-459.4	57600.0	-0.020	-0.075	-30.165	2.274834
		7.15	14.0	1492.7	107.54	107.54	130.22	-87.3	-87.4	4.60E-07	49.920	-0.095	49.920	-0.0016	-0.109				0.0500	1	400.00	5600.0	-43.6	-610.3	78400.0	-0.026	-0.083	-33.103	2.739564
		7.20	16.0	1500.5	107.63	107.63	130.31	-76.3	-76.5	4.58E-07	49.885	-0.098	49.885	-0.0023	-0.113				0.0500	1	400.00	6400.0	-45.1	-720.8	102400.0	-0.032	-0.080	-32.190	2.590542
		7.26	18.0	1481.7	107.63	107.63	130.31	-67.9	-68.0	4.64E-07	49.883	-0.059	49.883	-0.0023	-0.067				0.0500	1	400.00	7200.0	-26.9	-485.0	129600.0	-0.038	-0.029	-11.715	0.343087
		7.30	20.0	1482.2	107.65	107.65	130.32	-61.1	-61.2	4.64E-07	49.878	-0.054	49.878	-0.0024	-0.062				0.0500	1	400.00	8000.0	-24.7	-493.4	160000.0	-0.044	-0.018	-7.070	0.124958
		7.34	22.0	1459.4	107.60	107.60	130.27	-55.5	-55.6	4.72E-07	49.896	-0.019	49.896	-0.0021	-0.022				0.0500	1	400.00	8800.0	-8.7	-191.5	193600.0	-0.050	0.028	11.266	0.317320
		7.38	24.0	1442.0	107.47	107.47	130.15	-51.0	-51.0	4.78E-07	49.943	0.005	49.943	-0.0011	0.006				0.0500	1	400.00	9600.0	2.4	58.6	230400.0	-0.056	0.062	24.783	1.535494
Calibration freq. >>>		7.41	26.0	1439.2	107.35	107.35	130.03	-47.1	-47.1	4.79E-07	49.987	0.010	49.987	-0.0003	0.011				0.0500	1	400.00	10400.0	4.4	113.5	270400.0	-0.062	0.073	29.077	2.113629
		7.45	28.0	1435.2	107.19	107.19	129.87	-43.8	-43.7	4.81E-07	50.051	0.015	50.051	0.0010	0.017				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.068	0.085	0.000	0.000000
		7.48	30.0	1440.5	107.00	107.00	129.68	-40.9	-40.8	4.80E-07	50.124	0.011	50.124	0.0025	0.012				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.074	0.086	0.000	0.000000
									Sums >>>>		27	1.08E+04	92396.6	-109.1	-2750.8	1403989.2		1.71E-01	1.84E-14	19.078020
									Parameter		esd					Chi^2/n-2 >>>>>>>>>>>			0.763121
phase error vs. f									D	6.63E+09					esd of an obs of unit weight >>>			0.874
									a	0.015246	0.012716	<<< phase intercept at 0Hz
									b	-0.002963	0.001115	<<< gradient [degrees / MHz]
									tp	0.0082	0.003098	ns <<< time delay

									Phase error, obs-calc

Magnitude error vs f