## Sheet1
Data reduction for Philips dual-gang 500pF (only one gang connected), with 50:1 dial drive & 19mm acrylic drive shaft.					C =	69.83	*exp( -	0.32	* x) -	56.91325	+	24.040788	* x
Non linearity at low settings is corrected by subtracting an exponential function f(x) =( C0-a)Exp(-px)					where x is the dial reading
seed for C0	12.92
seed for -a	56.91
C0 - a	69.83					Show columns J-M for details of fitting calculation.
p	0.32
		Dial	f(x)	C meas	esd C	y	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2		C calc	obs-calc	w ec	w (ec)^2
		x		/ pF		C - f(x)					e					ec
0 - 25pF range		0	69.83	15.05	1.06	-54.8	1	0.890	-48.74	0.00	0.00	0.00	-56.91	2.13	1.90	4.049		12.92	2.13	1.898	4.049
		1	50.71	17.40	0.87	-33.3	1	1.322	-44.04	1.32	1.32	-44.04	-32.87	-0.43	-0.57	0.250		17.83	-0.43	-0.575	0.250
0 - 250pF range		2	36.82	28.50	0.91	-8.3	1	1.197	-9.96	2.39	4.79	-19.92	-8.83	0.51	0.61	0.312		27.99	0.51	0.611	0.312
		3	26.74	41.50	0.97	14.8	1	1.072	15.82	3.21	9.64	47.46	15.21	-0.45	-0.48	0.214		41.95	-0.45	-0.479	0.214
		4	19.42	58.00	1.03	38.6	1	0.939	36.23	3.76	15.02	144.92	39.25	-0.67	-0.62	0.416		58.67	-0.67	-0.625	0.416
		5	14.10	76.00	1.10	61.9	1	0.820	50.79	4.10	20.51	253.94	63.29	-1.39	-1.14	1.583		77.39	-1.39	-1.140	1.583
		6	10.24	96.00	1.18	85.8	1	0.713	61.18	4.28	25.68	367.07	87.33	-1.57	-1.12	1.756		97.57	-1.57	-1.119	1.756
		7	7.43	118.00	1.27	110.6	1	0.618	68.34	4.33	30.28	478.35	111.37	-0.81	-0.50	0.402		118.81	-0.81	-0.498	0.402
		8	5.40	141.00	1.36	135.6	1	0.537	72.88	4.30	34.40	583.08	135.41	0.19	0.10	0.019		140.81	0.19	0.101	0.019
		9	3.92	163.00	1.45	159.1	1	0.474	75.45	4.27	38.42	679.09	159.45	-0.37	-0.18	0.066		163.37	-0.37	-0.177	0.066
		10	2.85	187.00	1.55	184.2	1	0.417	76.85	4.17	41.73	768.49	183.49	0.66	0.27	0.181		186.34	0.66	0.275	0.181
		11	2.07	212.00	1.65	209.9	1	0.368	77.30	4.05	44.55	850.27	207.54	2.40	0.88	2.117		209.60	2.40	0.883	2.117
		12	1.50	236.50	1.75	235.0	1	0.328	77.09	3.94	47.24	925.04	231.58	3.42	1.12	3.843		233.08	3.42	1.123	3.843
0 - 2500pF range		13	1.09	260.00	3.54	258.9	1	0.080	20.66	1.04	13.49	268.59	255.62	3.29	0.26	0.865		256.71	3.29	0.263	0.865
		14	0.79	280.00	3.62	279.2	1	0.076	21.31	1.07	14.96	298.29	279.66	-0.45	-0.03	0.015		280.45	-0.45	-0.034	0.015
		15	0.57	302.00	3.71	301.4	1	0.073	21.92	1.09	16.36	328.85	303.70	-2.27	-0.17	0.376		304.27	-2.27	-0.165	0.376
		16	0.42	327.00	3.81	326.6	1	0.069	22.52	1.10	17.65	360.35	327.74	-1.16	-0.08	0.092		328.16	-1.16	-0.080	0.092
		17	0.30	350.00	3.90	349.7	1	0.066	22.99	1.12	19.00	390.85	351.78	-2.08	-0.14	0.285		352.08	-2.08	-0.137	0.285
		18	0.22	375.00	4.00	374.8	1	0.063	23.42	1.13	20.25	421.63	375.82	-1.04	-0.07	0.068		376.04	-1.04	-0.065	0.068
		19	0.16	400.00	4.10	399.8	1	0.059	23.79	1.13	21.48	451.93	399.86	-0.02	0.00	0.000		400.02	-0.02	-0.001	0.000
		20	0.12	425.00	4.20	424.9	1	0.057	24.09	1.13	22.68	481.73	423.90	0.98	0.06	0.055		424.02	0.98	0.056	0.055
		21	0.08	448.00	4.29	447.9	1	0.054	24.32	1.14	23.94	510.62	447.94	-0.03	0.00	0.000		448.03	-0.03	-0.001	0.000
		22	0.06	470.00	4.38	469.9	1	0.052	24.50	1.15	25.23	538.91	471.98	-2.05	-0.11	0.218		472.05	-2.05	-0.107	0.218
		23	0.04	498.00	4.49	498.0	1	0.050	24.68	1.14	26.22	567.60	496.02	1.93	0.10	0.185		496.07	1.93	0.096	0.185
		24	0.03	520.00	4.58	520.0	1	0.048	24.79	1.14	27.46	594.92	520.07	-0.10	0.00	0.000		520.10	-0.10	-0.005	0.000
		25	0.02	542.00	4.67	542.0	1	0.046	24.87	1.15	28.68	621.81	544.11	-2.13	-0.10	0.208		544.13	-2.13	-0.098	0.208
		sums >>>>>>>>>					26	10.489	813.03	58.65	590.98	10869.79			0.00	17.576				0.000	17.576
D	2758.883
a	-56.913246534	C meas vs C calc
esd a	0.156871
b	24.040787619
esd b	0.002784
Chi^2/n-2)	0.732319
esd fit	0.855756